## Arkusz1
CALIBRATION REPORT : K220/19
CLIENT | RADWAG Wagi Elektroniczne
ul. Toruńska 5 26-600 Radom
USER
CALIBRATION OBJECT - CHARACTERISTICS [B]
Object name |  |  |  |  | Material
S/N |  |  |  |  | Material density
Manufacturer |  |  |  |  | Material dens. Det. Uncert.
Year of manufacture |  |  |  |  | Shape
Marking |  |  |  |  | Maximum Permissible Error
Class (OIML R-111) |  |  |  |  | Air Density
Nominal mass |  |  |  |  | Set no
Adjustment
REFERENCE WEIGHT - CHARACTERISTICS [A]
S/N |  |  |  |  | Mass
Manufacturer |  |  |  |  | Calibration uncertainty
Manufacturer |  |  |  |  | Calibration Certificate
Year of manufacture |  |  |  |  | Material density
Class (OIML R-111) |  |  |  |  | Material dens. Det. Uncert.
REFERENCE WEIGHT - CHARACTERISTICS [A]
Marking/type |  |  |  |  | Scale interval
S/N |  |  |  |  | Standard deviation
Manufacturer |  |  |  |  | Year of manufacture
MEASURE DEVICE
Marking/type | Temperature [C] |  |  |  | Humidity [%] | Pressure [hPa]
S/N
Manufacturer
AMBIENT CONDITIONS AT MEASUREMENT START
| Temperature [C] |  |  |  | Humidity [%] | Pressure [hPa]
Measurement
Measurement correction
AMBIENT CONDITIONS AT MEASUREMENT END
| Temperature [C] |  |  |  | Humidity [%] | Pressure [hPa]
Measurement
Measurement correction
Air Density
Average DIFFERENCE (B-A):
Standard deviation:
Measurement uncertainty:
Coverage factor:
Calibration result:
Calibration uncerainty
Calibration start time:
Calibration end time: |  | 2019-04-03 11:48
Calibration mass: |  | 0g
Calibration certificate
Order number: |  | Z7/19
CYCLE NO.1 | 1 |  |  | DIFFERENCE (B-A): 0,0000135 g
OBJECT |  |  | INDICATION
CONTROL |  |  | 0.0000018 [g]
TEST |  |  | -0.0001 [g]
TEST |  |  | -0.0001018 [g]
CONTROL |  |  | 0.0000066 [g]
CYCLE NO.2 | 2 |  |  | DIFFERENCE (B-A): 0,0000135 g
OBJECT |  |  | INDICATION
CONTROL |  |  | 0.000004 [g]
TEST |  |  | -0.0000998 [g]
TEST |  |  | -0.0001018 [g]
CONTROL |  |  | 0.0000056 [g]
CYCLE NO.3 | 3 |  |  | DIFFERENCE (B-A): 0,0000135 g
OBJECT |  |  | INDICATION
CONTROL |  |  | 0.000004 [g]
TEST |  |  | -0.0001012 [g]
TEST |  |  | -0.0001038 [g]
CONTROL |  |  | 0.0000052 [g]
CYCLE NO.4 | 4 |  |  | DIFFERENCE (B-A): 0,0000135 g
OBJECT |  |  | INDICATION
CONTROL |  |  | 0.0000032 [g]
TEST |  |  | -0.0001026 [g]
TEST |  |  | -0.0001046 [g]
CONTROL |  |  | 0.000005 [g]
CYCLE NO.5 | 5 |  |  | DIFFERENCE (B-A): 0,0000135 g
OBJECT |  |  | INDICATION
CONTROL |  |  | 0.000002 [g]
TEST |  |  | -0.000105 [g]
TEST |  |  | -0.0001046 [g]
CONTROL |  |  | 0.0000012 [g]
CYCLE NO.6 | 6 |  |  | DIFFERENCE (B-A): 0,0000135 g
OBJECT |  |  | INDICATION
CONTROL |  |  | -2e-7 [g]
TEST |  |  | -0.0001062 [g]
TEST |  |  | -0.0001078 [g]
CONTROL |  |  | 0.0000014 [g]
CYCLE NO.7 | 7 |  |  | DIFFERENCE (B-A): 0,0000135 g
OBJECT |  |  | INDICATION
CONTROL
TEST
TEST
CONTROL