## Arkusz1
CALIBRATION REPORT : K220/19
CLIENT | RADWAG Wagi Elektroniczne
ul. Toruńska 5 26-600 Radom
USER
CALIBRATION OBJECT - CHARACTERISTICS [B]
Object name | Reference weight |  |  |  | Material
S/N | 876665 |  |  |  | Material density
Manufacturer | RADWAG Wagi Elektroniczne |  |  |  | Material dens. Det. Uncert.
Year of manufacture | 2018 |  |  |  | Shape
Marking | 5R |  |  |  | Maximum Permissible Error
Class (OIML R-111) | E1 |  |  |  | Air Density | 1.148
Nominal mass | 5 g |  |  |  | Set no
Adjustment | monobloc without adjusting hole
REFERENCE WEIGHT - CHARACTERISTICS [A]
S/N |  |  |  |  | Mass
Manufacturer |  |  |  |  | Calibration uncertainty
Manufacturer |  |  |  |  | Calibration Certificate
Year of manufacture |  |  |  |  | Material density
Class (OIML R-111) |  |  |  |  | Material dens. Det. Uncert.
REFERENCE WEIGHT - CHARACTERISTICS [A]
Marking/type |  |  |  |  | Scale interval
S/N |  |  |  |  | Standard deviation
Manufacturer |  |  |  |  | Year of manufacture
MEASURE DEVICE
Marking/type | Temperature [C] |  |  |  | Humidity [%] | Pressure [hPa]
S/N
Manufacturer
AMBIENT CONDITIONS AT MEASUREMENT START
| Temperature [C] |  |  |  | Humidity [%] | Pressure [hPa]
Measurement
Measurement correction
AMBIENT CONDITIONS AT MEASUREMENT END
| Temperature [C] |  |  |  | Humidity [%] | Pressure [hPa]
Measurement
Measurement correction
Air Density | 0
Average DIFFERENCE (B-A): |  | 1.3833e-05
Standard deviation: |  | 1.1003e-06
Measurement uncertainty:
Coverage factor:
Calibration result:
Calibration uncerainty
Calibration start time:
Calibration end time:
Calibration mass:
Calibration certificate
Order number:
CYCLE NO.1 | 1 |  |  | DIFFERENCE (B-A):
OBJECT |  |  | INDICATION
CONTROL |  |  | -0.0000076 [g]
TEST |  |  | 0.0000038 [g]
TEST |  |  | 0.000003 [g]
CONTROL |  |  | -0.0000136 [g]
CYCLE NO.2 | 2 |  |  | DIFFERENCE (B-A):
OBJECT |  |  | INDICATION
CONTROL |  |  | -0.000013 [g]
TEST |  |  | 0.000001 [g]
TEST |  |  | -0.0000016 [g]
CONTROL |  |  | -0.0000162 [g]
CYCLE NO.3 | 3 |  |  | DIFFERENCE (B-A):
OBJECT |  |  | INDICATION
CONTROL |  |  | -0.0000184 [g]
TEST |  |  | -0.000004 [g]
TEST |  |  | -0.0000048 [g]
CONTROL |  |  | -0.0000192 [g]
CYCLE NO.4 | 4 |  |  | DIFFERENCE (B-A):
OBJECT |  |  | INDICATION
CONTROL |  |  | -0.0000216 [g]
TEST |  |  | -0.0000076 [g]
TEST |  |  | -0.0000092 [g]
CONTROL |  |  | -0.0000228 [g]
CYCLE NO.5 | 5 |  |  | DIFFERENCE (B-A):
OBJECT |  |  | INDICATION
CONTROL |  |  | -0.0000226 [g]
TEST |  |  | -0.0000062 [g]
TEST |  |  | -0.0000078 [g]
CONTROL |  |  | -0.000021 [g]
CYCLE NO.6 | 6 |  |  | DIFFERENCE (B-A):
OBJECT |  |  | INDICATION
CONTROL |  |  | -0.000022 [g]
TEST |  |  | -0.0000098 [g]
TEST |  |  | -0.00001 [g]
CONTROL |  |  | -0.0000212 [g]
CYCLE NO.7 | 7 |  |  | DIFFERENCE (B-A): 0,0000135 g
OBJECT |  |  | INDICATION
CONTROL
TEST
TEST
CONTROL